## Tabelle1
Additional criteria
Criterions | Description | Scoring | Max points | Offer | Points | Notes
1.f, pump | Flow accuracy | ≥±0.5: 0 point; | 2
between 0.2–0.5: 1 point;
≤0.1: 2 points
| Max flow | Highest gets 3 points, linear in between | 3
1.g, pH sensor | Accuracy | 0.01 ≤±0.1 gets 0 point; | 3
0.001 ≤±0.01 gets 2 point;
≤±0.001 gets 3 point
| Range | ≥ 1-14 gets 2 points, rest gets 0 points | 2
1.h DO sensor | Accuracy | ≥±0.5%: 0 points; | 2
Between ±0.2–0.5%: 1 point;
≤±0.1%: 2 point
| Detection limit | ≥ 0.5%: 0 point; | 3
0.1-0.5%: 2 points;
≤0.1%: 3 points
Hardware | Provided device | Yes: 3 points | 3
No: 0 point
ORP sensor | Optional sensor | Yes: 2 points | 2
No: 0 point
Warranty | Duration | ≥ 24 months: 3 points | 3
< 24months: 0 point
Gas flexibility | Recalibration possible | Yes: 2 points | 2
No: 0 point
Total |  |  | 25 |  | 0
Datum:
Name und Unterschrift